## Slide 1
Altadena Street Lighting
Altadena Heritage Meeting September 15, 2022
Presented by Victor Le and Erick Guzman

## Slide 2: Agenda
County Lighting Districts (Erick)
Installing Streetlights (Erick)
Codes/Standards/Guidelines (Victor)
Lighting Design (Victor)
Streetlight Acquisition (Erick)
LED Conversion (Erick)
Request for Services (Erick and John)
Q&A (All)

## Slide 3: What are CLDs?
County Lighting Districts (CLDs)
  Special benefit districts
  CA Streets and Highways Code
    Improvement Act of 1911
    Landscape and Lighting Act of 1978
  Streetlight Funding Mechanism
County-administered CLDs
  Unincorporated areas
  Sixteen cities
Administration
  Annexing territories
  Collecting assessments
  Fund Services

## Slide 4: Installing Streetlights
Developments
  County code requires installation of streetlights as condition of development
  Developments are Annexed into the CLD to fund the ongoing O&M
Resident Requests
  Prelim Design
    Constructability
  Annexation Process
    Community meeting
    Circulate Petition (>60%)
  Final Design Process
  Construction
  Acceptance
Un-Improved
Improved

## Slide 5: Street Lighting – Planning/Guidance Documents
The County does not have a standalone Master Lighting Plan document. The design and installation of streetlights are guided by a combination of State law, national or industry standards/recommendations, County ordinances, and accepted engineering practices.
California Streets and Highways Code
American Medical Association’s Recommendation (2016)
International Dark-Sky Association
Rural Outdoor Lighting District Ordinance (Title 22.80)
Community Standard Districts (Title 22.300)
Illuminating Engineering Society (IES)
Procedures for the Preparation of Streetlight Plans
Notes: California Streets and Highways Code​
Governs the annexation process and use of CLD funds.​
​
American Medical Association’s Recommendation (2016)​
Provides guidance on the proper use of LED lighting to reduce human and environmental effects.​
​
International Dark-Sky Association​
Provides guidance on the proper use of outdoor lighting to reduce light pollution.​
​
Rural Outdoor Lighting District Ordinance (Title 22.80) ​
Supplemental district that restricts the installation of new streetlights in rural areas to preserve the nighttime environment​
​
Community Standard Districts (Title 22.300) ​
Supplemental District that allows for the use of decorative streetlights in new installations (aesthetics only). Altadena’s CSD does not require decorative streetlights. ​
​
Illuminating Engineering Society (IES)​
The recognized technical and educational authority on illumination and national lighting standards.​
​
Procedures for the Preparation of Streetlight Plans ​
Includes IES national lighting standards for minimum roadway illumination and uniformity levels.

## Slide 6
Basic Lighting Standards
In August 1963, the Board of Supervisors of the County of Los Angeles adopted a resolution
requiring the levels of illumination recommended by the Illuminating Engineering Society (IES).
Street Classification | Curb to curb Width | Minimum Average Footcandles | Maximum Uniformity Ratio
Major Intermediate | 84’ | 1.4 | 3
Collector Intermediate | 64’ | 0.9 | 3
Local Residential | <40’ | 0.4 | 6
Notes: Lake Avenue
Altadena Drive
El Molino Avenue

## Slide 7
Footcandle
A unit of luminance (light intensity).
The amount of light a candle produces as observed in a square foot, 1 foot away.

## Slide 8
Uniformity Ratio
The ratio between the brightest point and the darkest point.
Represents how equally distributed the light is, with 1 being perfectly uniform.

## Slide 9
Intersection Lighting

## Slide 10
Intersection Lighting

## Slide 11
Light Trespass
BUG Rating (0-5):
Backlight is the light directed behind.
Up light is light directed upward.
Glare is the light directed forward.
IES Standards |  |  | 
Wattage equivalent | Backlight | Up light | Glare
100W | 1 | 0 | 2
150W | 2 | 0 | 2
200W | 2 | 0 | 3
250W | 3 | 0 | 3

## Slide 12: Streetlight Inventory and Acquisition
≈ 60,000 Streetlights
Across 80+ Communities
County-owned ≈ 26,500 (44%)
SCE-owned ≈ 33,500 (56%)
Anticipated Final Split ≈ 50/50

## Slide 13: Altadena Streetlight Inventory (By Ownership)
Pole Ownership (after acquisition)
≈ 3,340 Streetlights
County-owned ≈ 1,027 (31%)
SCE-owned ≈ 2,313 (69%)
Pole Material
Wood ≈ 2537 Poles (76%)
Concrete ≈ 680 Poles (20%)
Steel ≈ 123 Poles (4%)

## Slide 14: Streetlight Maintenance
County-Maintained
SCE-Maintained
NOTE: Pole with 2 tags or no tag, Contact County

## Slide 15: LED Conversion Overview
LED Vs. High Pressure Sodium (HPS)
Energy Efficiency (≈50%)
4X Useful Life
HPS Becoming Obsolete
Progress
Converted ≈ 20,000 (66%)
Across 50+ Communities
Altadena Conversion on Hold

## Slide 16: Altadena Streetlight Inventory (By Lamp Type)
Lamp Type
HPS ≈ 2,933 Lamps (88%)
Metal Halide ≈ 374 Lamps (11%)
LED ≈ 33 Lamps (1%)*
*Excludes LED’s at signalized intersections
Lake Av./Morada Pl. (1)
Canyada Av./Crosby St. (2)
New York Dr. B/W Oxford Av. & Hill Av. (6)
New York Dr./Altadena Dr. (1)
Santa Anita Av./Marigold St. (1)
Washington Bl. B/W Allen Av. & Craig Av. (22)

## Slide 17: Altadena Conversion (Color Temperature)
Kelvin (K) = Unit of Temperature
County Standard = 2700K
SCE Standard = 3000K
(2700K Option Available)
Both exceed American Medical Association and International Dark-Sky Association Recommendation on Color Temperature

## Slide 18: Streetlight Outages/Reporting
County Reporting (Outages, Request Streetlights)
Emergency Dispatch: (800) 675-4357 (HELP)
Streetlight Hotline: (800) 618-7575
Website: www.pw.lacounty.gov/contact
App: The Works App
SCE Reporting (Outages)
Customer Service: (800) 655-4555
Website: www.sce.com/outages
App: MySCE App
What Information to Provide:
Required
  Issue (i.e. outage, flickering, etc.)
  Location of Issue (Nearest address)
Voluntary
  Pole Number (recommended)
  Name & Phone Number
Repair Times: Within 5 business days unless the degree of repair requires more time.

## Slide 19
Questions?
Contact Information:
Erick Guzman, PE (Project Manager)
eguzman@dpw.lacounty.gov
(626) 300-4860
Victor Lê, PE (Design)
vle@dpw.lacounty.gov
(626) 300-4747